## Slide 1: Welcome to my Presentation
Project Title: Construction of a Microcontroller-Based Protection System for Voltage and Frequency Fluctuation
Presenting by: Ahmed Rijvee
ID: 1810874144
Batch-2
Session: 2017-18

## Slide 2: Goal of this project
To develop a protection system using microcontroller technology to safeguard against voltage fluctuations and frequency deviations.
Based on:
                Real time monitoring
                Anomaly detection
                Immediate response

## Slide 3: Schematic Diagram

## Slide 4: Circuit Diagram

## Slide 5: Components used in this project
Arduino UNO
16 x 2 LCD
I2C Adapter Module
5V DC Relay
741 Op-amp
Center tapped stepdown
transformer

## Slide 6: Implementation and Condition
Normal voltage, 200V ≤ NV ≤ 240V
Under Voltage, UV < 200V
Over Voltage, OV > 240V
Normal frequency, 49Hz ≤ NF ≤ 51.5Hz
Under frequency, UF < 49Hz
Over frequency, OV > 51.5Hz
Hardware Implementation
Conditions:

## Slide 7: Limitations
Initially, two transformers were used to handle the loading effect.
When a high voltage supply is used, the rating of the transformer is subject to change.
A slight tolerance is showing due to variations in component uniformity.

## Slide 8: Future enhancement
Allowing the system to send alerts to remote monitoring stations or trigger automated shutdown procedures.
The system could benefit from predictive algorithms that anticipate voltage and frequency anomalies based on historical data, enabling even more proactive protection strategies.

## Slide 9: Conclusion
Load operating at
NV, NF condition
Load disconnected at
NV, OF condition
Load disconnected at
OV, NF condition

## Slide 10
Thanks for Your Kind Attention